What is hemolysis?

- Hemolysis occurs when red blood cells (RBCs) break apart and hemoglobin and intracellular components are released into the plasma/serum.

- Hemolysis may occur intravascularly due to various disorders/diseases/drugs (~2% of hemolyzed specimens); or during blood collection and/or transport (~98% of hemolyzed specimens).

Why do we care about hemolyzed specimens?

- Certain lab tests can be affected and the reported results will be unreliable.

- It may cause falsely decreased results for tests such as direct bilirubin, RBCs, HCT, and aPTT.

It may cause falsely elevated results for tests such as potassium, ammonia, magnesium, phosphorus, AST, ALT, LDH and PT

Evidence-based strategies to minimize hemolysis caused during blood collection

- Avoid collecting blood when starting an IV

- Consider using venipuncture rather than a vascular access device (VAD)

- Choose the needle size that best correlates with vein size

- Gently invert tubes 8-10 times to mix; NEVER shake tubes

- Fill tubes fully as excess anticoagulants is hard on fragile RBCs

- ≤ 1 minute tourniquet time

- Use vacuum tube rather than syringe

  - If a syringe must be used, keep < 1 mL of dead space and allow the tubes to fill slowly

- Stop and correct if the blood flow is slow or frothing

- Consider drawing in a serum separator tube (gold top) if previous attempt with lithium heparin separator tube (mint green top) is unsuccessful

  - Gold top must also be an acceptable tube type for the test requested

- Consider walking a specimen down to the laboratory to avoid stress caused by transport via pneumatic tube system

Choosing a needle gauge

- Using a needle size too large can tear the vein and cause a hematoma

- Using a needle size too small can damage blood cells

- Needle sizes should be chosen according to the vein size

- 25 gauge should be rarely used

| Needle Gauge | Adult | Pediatric/elderly/ small veins | Neonate | Butterfly Color |
| --- | --- | --- | --- | --- |
| 21 | Yes |  |  | Dark Green |
| 22 | Yes | Yes |  | Black |
| 23 | Yes | Yes | Yes | Light Blue |
| 25 | Rarely needed | Rarely needed | Yes | Dark Blue |

References

- WHO guidelines on drawing blood: best practices in phlebotomy. 2010.

- Heyer N, et al. Effectiveness of practices to reduce blood sample hemolysis in EDs: a laboratory medicine best practices systematic review and meta-analysis. Clin Biochem. 2012 Sep;45(13-14):1012-32.

- Lowe G, et al. Nursing blood specimen collection techniques and hemolysis rates in an emergency department: analysis of venipuncture versus intravenous catheter collection techniques.

- Mullins G, et al. Smartphone monitoring of pneumatic tube system-induced sample hemolysis. Clin Chim Acta. 2016 Nov 1;462:1-5.